## Slide 1
Cybersecurity Table-Top Exercise (TTX) for Power Plants
MLM-020-C
Industry – Process Industry
Principal Role – All
Professional Role – Control Engineer + IT Specialists
Enterprise Phase – All
Turn on your audio and click start to begin video
Notes: This MLM provides an introduction to the use of Table-Top Exercises for Process Industry plants. It is intended for design engineers and plant engineers who will use Table-top studies to investigate cybersecurity issues in Power Plants and other Process industry facilities.
Click the NEXT button when you are ready to advance to the next slide.

## Slide 2: The Cyber Attack Surface - 3 Main Vectors
Creating Risky Condition
Peoples
Readiness & Knowledge
Physical
Perimeter Protection
Existing
Vulnera-
bilities
Internally Generated Cyber Attacks
  Start with breaching the physical perimeter
  The attacker can be an employee, visitor, or hacker
Externally Generated Cyberattacks
  May start through external networks or the internet with Social Engineering
  May operate for months prior to being detected
Supply Chain Cyber Attacks
  Vendors of products and supply services
  Expert service personnel (in the country or abroad)
  Increased frequency of Remote support access > Higher Risk
Notes: Internally Generated Cyber Attacks
Start with breaching the physical perimeter
The attacker can be an employee, visitor, or hacker
Externally Generated Cyberattacks
May start through external networks or the internet with Social Engineering
May operate for months prior to being detected
Supply Chain Cyber Attacks
Vendors of products and supply services
Expert service personnel (in the country or abroad)
Increased frequency of Remote support access > Higher Risk

## Slide 3: Cyber Defense Triad
Business Continuity Preparedness
  Preparing alternative operation
  Using backup data and services
Incident Response
  Minimizing the damage caused by the attack
  Involving preassigned trained team
  Obtaining assistance according to plan
Disaster Recovery Planning
  Acting quickly and efficiently
  Restoring the plant operation
BCP
IR
DRP
Notes: The time base of Business Continuity Preparedness (BCP) is years,
Incident Response is minutes, and
Disaster Recovery Planning (DRP) is weeks.

## Slide 4: TTX is Part of Cybersecurity Program 1/2
Allow the organization to test its preparedness for an incident
  Test the readiness of your BCP-DRP-IR team
Help to detect weaknesses related to knowledge of the team
  May lead to specific training programs as required
What type of TTX drills may be considered
  An overall action involving all teams (including the management)
  A specific action just for designated teams (as refereed here)
Who shall supervise the TTX process
  Internal team including members who are not implementation participants
  External consultants who can detect gaps
Notes: The Table Top Exercise is part of the Cybersecurity Program which has the following objectives:
Allow the organization to test its preparedness for an incident
  Test the readiness of your BCP-DRP-IR team
Help to detect weaknesses related to the knowledge of the team
  May lead to specific training programs as required
What type of TTX drills may be considered
  An overall action involving all teams (including the management)
  A specific action just for designated teams (as refereed here)
Who shall supervise the TTX process
  Internal team including members who are not implementation participants
  External consultants who can detect gaps

## Slide 5: TTX is Part of Cybersecurity Program 2/2
Assessment & Preparedness
  Detecting vulnerabilities
Training and Familiarization
  Boosting the expertise
Testing Plans and Procedures
  Constantly improving
Coordination/ Communication
  Enhanced teamwork
Crisis Response Improvement
  Correct handling of incident
Leadership Development
  Cyber-risk aware organization
Resource Management
  Optimizing the resources
Compliance Requirements
  International and local regulation
Improved Effectiveness
  Enhanced Internal capabilities
Insurance requirements
  Goal is to reduce the cost of damages
Notes: Other TTX objectives include:
Assessment & Preparedness -Detecting vulnerabilities
Training and Familiarization - Boosting the expertise
Testing Plans and Procedures - Constantly improving
Coordination/ Communication - Enhanced teamwork
Crisis Response Improvement - Correct handling of the incident
Leadership Development - Cyber-risk aware organization Resource Management - Optimizing the resources
Compliance Requirements - International and local regulations Improved Effectiveness - Enhanced Internal Capabilities Insurance requirements - Goal is to reduce the cost of damages

## Slide 6: Combined Cycle Power Plant Example
Combined Cycle Power Plant (CCPP) Main Components
  Supply& Storage of Gas
  Gas Turbine operation
  Heat transfer to boiler
  Steam Boiler function
  Steam Turbine operation
  Power generator
  Step-up transformer.
  Protected HV feeders
  Onsite control room
Process Areas
  Gas Supply
  Gas Turbine
  Steam Boiler
  Electric Power
Gas Supply
Air Entry
Water Supply

## Slide 7: Typical scenarios examined in TTX
Typical Incident Scenarios examples
  The HMI Screen is not getting field updates
  The Power Plant stopped producing energy
  Alert on severe vibration of the gas turbine
  The mouse on the HMI screen is moving
  CCTV shows people near the generator
  The operator sees high boiler pressure
https://stock.adobe.com/images/cyber-security-risk-management-abstract-concept-vector-illustration/448780870
Notes: Typical Incident Scenarios Examined in the Table Top Exercise:
The HMI Screen is not getting field updates
The Power Plant stopped producing energy
Alert on severe vibration of the gas turbine
The mouse on the HMI screen is moving
CCTV shows people near the generator
The operator sees high boiler pressure

## Slide 8: Typical Incident Response Actions
Incident response actions
  How to detect accurately?
  Who must participate?
  How to Respond quickly?
  Conduct Emergency Shut Down (ESD)
  Conduct Controlled Shut Down
  How to Investigate the incident?
  Documenting the event?
  Public Relations Handling
Notes: Incident response actions include:
How to detect an incident accurately?
Who must participate?
How to respond quickly?
Conduct Emergency Shut Down (ESD)
Conduct Controlled Shutdown
How to Investigate the incident?
Documenting the event?
Public Relations Handling

## Slide 9: TTX Example for a Combined Cycle Power Plant
Did you detect anomaly ICS behavior ?
All is works
Not sure
Probably Yes
No change
Yes
No
START point of the Incident
Did they
No
Next Action
Test
Yes
Next Action
Next Action
No
Next Action
Yes
No
END point of the Incident
Yes
Next Action
Yes
Next Action
Final
Action
Final
Action
Initial action
Inspection Phase 1
Critical action
Remediation
Detection action
Completion action
No
Notes: Typical Work Process used in response to an incident in a Combined Cycle Power Plant

## Slide 10: Team selection for this TTX
Acting as a Plant Operation Manager
Responsible for Safety
Fill the role of the Plant CISO
Supporting ICS with IT Cybersecurity
On-site ICS Cyber security experts
P
C
I
M
S
Notes: The TTX team should be include individuals who will:
Act as a Plant Operations Manager - Dealing with IR and the preparedness of the organization
Responsible for Physical Security and Safety - 1-2 people dealing with physical security and safety assurance
Fill the role of the Plant CISO - Ensures the technical/regulatory compliance requirements
Supporting ICS with IT Cybersecurity - 2-4 Dealing with all aspects related to network connectivity
On-site ICS Cyber security experts - 2-4 people capable of dealing with the on-site process and appliances

## Slide 11: Incident - The HMI is not getting updates 1/4
Concerns and Risks | Fin. Losses | Bus. Cont. | Damage | Safety | Risk to Lives
?- Unknown/ H-High/ M-Medium/ L-Low | L | L | M | L | L
no immediate risk of severe damage to equipment
no immediate risk to people
The decision is to start an investigation of the incident
Assessing the seriousness of the Incident
Notes: The team decided that there is no immediate risk of severe damage to equipment and no immediate risk to people.
The decision is to start an investigation of the incident by calling several specialists to the control room

## Slide 12: Incident - The HMI is not getting updates 2/4
Whom to dispatch to help?
  P?
  M?
  S?
  I?
  C?
Whom to dispatch to help?
  IT Cybersecurity Experts (I)
  ICS Cyber security experts (S)
Responsible for Physical & Perimeter Security
The CCPP Manager responsible for operations?
On-site Industrial Cyber Security Expert
Onsite Information technology cyber security expert?
The onsite person filling the role of a CISO
P
C
I
M
S
Concerns and Risks | Fin. Losses | Bus. Cont. | Damage | Safety | Risk to Lives
?- Unknown/ H-High/ M-Medium/ L-Low | L | L | M | L | L

## Slide 13: Incident - The HMI is not getting updates 3/4
Recommended Actions
  Control room manager to activate the secondary HMI
  In parallel to onsite inspections, take actions to restart the HMI.
  Inspect the ICS Zone networks: Switches, firewalls, routers, etc.)
  If the fault continues, perform a controlled plant shutdown.
Selected actions to be decided by the team
Concerns and Risks | Fin. Losses | Bus. Cont. | Damage | Safety | Risk to Lives
?- Unknown/ H-High/ M-Medium/ L-Low | L | L | M | L | L

## Slide 14: Incident - The HMI is not getting updates 4/4
Incident Response Flowchart
  Series of step-by-step actions
  The team must make decision at each step
Did you detect anomaly ICS behavior ?
Does it risk the plant’s Normal Operation?
Conducting an inspection of the system in operator room
Yes
Did they request to shut down the plant?
START point of the Incident
Document the incident. Report to stakeholders
Next Action
Next Action
Does it risk the plant’s Operation Safety?
Conduct IT and/or ICS maintenance for the plant
END point of the Incident
Yes
Final
Action
Further inspection for the ICS Network Operation and completion of Repair Actions
Perform careful Shut down of the ICS
Not sure
Yes
No
Next
IT Related Incident
The inspection detected a disconnected data cable

## Slide 15
About the Author
Daniel Ehrenreich
Consultant, workshop lecturer, and Secure Communications and Control Expert. Daniel has over 32 years of experience with control solutions of industrial operations and integration with Cyber security
Acting as an expert and volunteer contributor to multiple ISA 62443 workgroups.